Admin Summer Project Calendar

Duration: June – August 2022        Department: Hard services

Prepared by: Sushil Kumar (Admin Team)

| June To-Do List |  |  |  |
| --- | --- | --- | --- |
| Time Period | Task Description | Status Completed / Pending / Ongoing | Comments |
| June 1st – June 30th | PPM of HVAC outdoor VRF systems for building-A & B. | Ongoing in north wing | Building A-west and south done. |
|  | PPM of mini split units of elevator rooms. | Ongoing |  |
|  | Review daily log sheet of IT-main server room precision unit. | Completed | We did service as per schedule. |
|  | Review daily log sheet of pumps. | Completed |  |
|  | Review the daily water level of tanks. | Completed |  |
|  | Review the daily CT-Meter reading to check power consumption. | Completed |  |
|  | Review the daily MEW water meter reading to check water consumptions. | Completed | No changes in consumption due to no connection. |
| June 1st | Elevator room mini split unit new control work. | Completed | West wing elevator room. |
|  | Fixed the wall mount acrylic holder in booster, irrigation & IT-main server room for log sheet. | Completed |  |
| June 2nd | Booster pumps' abnormal sound issues have been rectified. | Completed | Tighten split coupling of pump housing. |
| June 6th | Cleaning work for mechanical rooms (booster pumps and generator room). | Competed |  |
|  | Replacement of all four batteries for generator at building D. | Pending | Waiting for quotation |
| June 1st - June 9th | New transfer pump installation and commissioning. | Pending | Waiting for quotation of pipe fittings from purchasing department. |
| June 12th – June 16th | AHU & FCU’S outdoor VRF-PCB’s replacement. |  |  |
| June 19th – June 23rd | New mini split unit installation in booster pump room. |  |  |
| June 26th - June 30th | Make-up tank leak rectification. |  |  |
| June 8th | Inspection and maintenance of transformer rooms AC. |  |  |
| June 16th | Inspection and maintenance of pumps (booster & irrigation). |  |  |
| June 23rd | Inspection of LT/HT panels room of building D&E. |  |  |
| June 30th | Generator testing on without load for both building D&E. |  |  |
| TBD | Generator load testing of building B and C. |  | Requires power cut off to building B and C. |
| TBD | BAS (Building Automation System) software installation and commissioning. | Ongoing | Received quotations from suppliers and under discussion with management. |
| July To-Do List |  |  |  |
| Time Period | Task Description | Status Completed / Pending / Ongoing | Comments |
| July 2nd - July 31st | PPM of HVAC outdoor units for building-C, D & E. |  |  |
|  | PPM of mini split units of elevator rooms. |  |  |
|  | Review daily log sheet of IT-main server room precision unit. |  |  |
|  | Review daily log sheet of pumps. |  |  |
|  | Review the daily water level of tanks. |  |  |
|  | Review the daily CT-Meter reading to check power consumption. |  |  |
|  | Review the daily MEW water meter reading to check water consumptions. |  |  |
| July 2nd - July 9th | Make-up tanks under observation and refill the waters. |  |  |
| July 14th | Inspection of pumps (booster & irrigation). |  |  |
| July 21st | Inspection of LT/HT panels room along with electrical rooms. |  |  |
| July 21st | Inspection and maintenance of transformer rooms AC. |  |  |
| July 28th | Generators testing on without load for both buildings D&E. |  |  |
| August To-Do List |  |  |  |
| Time Period | Task Description | Status Completed / Pending / Ongoing | Comments |
| August 1st -August 31st | PPM of indoor FCU units. |  |  |
|  | Review daily log sheet of IT-main server room precision unit. |  |  |
|  | Review daily log sheet of pumps. |  |  |
|  | Review the daily water level of tanks. |  |  |
|  | Review the daily CT-Meter reading to check power consumption. |  |  |
|  | Review the daily MEW water meter reading to check water consumptions. |  |  |
| August 7th – August 19th | Leak rectification of irrigation tank. |  |  |
| August 2nd | Inspection of sump pit and their pumps. |  |  |
| August 3rd - August 6th | Inspection of mini split units of all elevator's room. |  |  |
| August 6th - August 8th | Inspection of pumps (booster & irrigation). |  |  |
| August 9th – August 22nd | Inspection of GX-Units and do the maintenance. |  |  |
| August 17th - August 23rd | Inspection and maintenance of all package units of LT panels room. |  |  |
| August 4th, 11th, and 18th | Inspection of LT/HT panels room of building D&E. |  |  |
| August 25th | Monitoring transformer rooms AC. |  |  |
| August 25th | Generators testing on without load for both buildings D&E. |  |  |

Project Summary

| Major Achievements |  | New control made for mini split unit |
| --- | --- | --- |
| Any challenges |  | HVAC and Electrical PPM |
| Any Pending Task |  | Transfer pump installation work Batteries replacement of generator set |

| Submission Date |  | June 6th -22 |
| --- | --- | --- |
| Approval |  |  |